打开以下链接

http://www.reliance.com/cgi-bin/mtrquery.pl

举例说明：

窗体顶端

窗体底端

| Model Number | ECP44402T-4 |  | Environment | Harsh / Mill & Chemical |
| --- | --- | --- | --- | --- |
| HP | 400 |  | Application | General Purpose |
| Speed(RPM) | 3570 |  | Features | General Purpose |
| Voltage | 460 |  | Efficiency | Premium (XE) |
| Frame Size | 449TS |  | Phase | 3 |
| Enclosure | TEFC |  | Frequency(Hz) | 60 |
| Mounting | Foot Mounted |  | Service Factor | 1.15 |
| Inverter Duty | * |  | Obsolete | N |
| Insulation Class | F |  | Dimension Sheet | 617423-1 |
| Design | B |  | Connection Diagram | 416820-25 |
| List Price( $ ) |  |  | Electrical Design | W06807-A-A001 |
| Price Symbol | LM |  | Instr. Manual | MN408 |
| Page |  |  | Scaled Drg (Autocad .dwg) |  |

"*" - See the following catalogs for Speed Range and Torque Capability as well as other technical information.
          Page references with a "B" prefix refer to the Baldor 501 Catalog.
          Page references with a "M" prefix refer to the Reliance 2006 Industrial Motors Catalog which should be used for technical reference only and not for pricing.

Copyright©2007 Baldor Electric Company. All Rights Reserved.